## Sheet1
2018 NREL Solar PV System Cost Breakdown
Residential
|  | Rate |  | Percentage |  | User Inputs | NREL Natl Ave Results % |  | User Inputs | User Results
System Item | Natl Ave | Low | High | Low | High | Enter 'Cost/Watt' | Rate | Percentage | Enter 'Rates' | Rates | Percentage
Net Profit | 0.33 | 0.31 | 0.33 | 13.36% | 10.58% | 3.28 | 0.33 | 12.18% | 2.71 | 0.33 | 12.18%
Overhead | 0.32 | 0.26 | 0.37 | 11.21% | 11.86% |  | 0.32 | 11.81% |  | 0.32 | 11.81%
Sales & Marketing | 0.35 | 0.29 | 0.41 | 12.5% | 13.14% |  | 0.35 | 12.92% |  | 0.35 | 12.92%
Permitting, Inspection, Interconnection | 0.06 | 0.06 | 0.06 | 2.586% | 1.923% |  | 0.06 | 2.214% |  | 0.06 | 2.214%
Installation Labor | 0.27 | 0.19 | 0.32 | 8.19% | 10.26% |  | 0.27 | 9.963% |  | 0.27 | 9.963%
Sales Tax | 0.09 | 0.04 | 0.11 | 1.724% | 3.526% |  | 0.09 | 3.321% |  | 0.09 | 3.321%
Supply Chain Costs | 0.3 | 0.27 | 0.33 | 11.64% | 10.58% |  | 0.3 | 11.07% |  | 0.3 | 11.07%
Electrical BOS | 0.21 | 0.21 | 0.21 | 9.052% | 6.731% |  | 0.21 | 7.749% |  | 0.21 | 7.749%
Structural BOS | 0.1 | 0.1 | 0.12 | 4.31% | 3.846% |  | 0.1 | 3.69% |  | 0.1 | 3.69%
Inverter | 0.21 | 0.12 | 0.39 | 5.172% | 12.5% |  | 0.21 | 7.749% |  | 0.21 | 7.749%
Modules | 0.47 | 0.47 | 0.47 | 20.26% | 15.06% |  | 0.47 | 17.34% |  | 0.47 | 17.34%
Total | 2.71 | 2.32 | 3.12 |  |  |  | 2.71 |  |  | 2.71
Under 200kW
|  | Rate |  | Percentage |  | User Input | NREL Natl Ave Results % |  | User Inputs | User Results
System Item | Natl Ave | Low | High | Low | High | Enter 'Cost/Watt' | Rate | Percentage | Enter 'Rates' | Rates | Percentage
EPC /Developer Net Profit | 0.12 | 0.11 | 0.13 | 6.707% | 6.404% | 1.86 | 0.12197 | 6.557% | 1.83 | 0.12 | 6.557%
Contingency | 0.05 | 0.04 | 0.05 | 2.439% | 2.463% |  | 0.05082 | 2.732% |  | 0.05 | 2.732%
Developer Overhead | 0.36 | 0.33 | 0.4 | 20.12% | 19.7% |  | 0.3659 | 19.67% |  | 0.36 | 19.67%
Sales Tax | 0.05 | 0.02 | 0.06 | 13% | 13% |  | 0.05082 | 2.732% |  | 0.05 | 2.732%
Permitting & Interconnection | 0.1 | 0.1 | 0.1 | 6.098% | 4.926% |  | 0.10164 | 5.464% |  | 0.1 | 5.464%
EPC Overhead | 0.18 | 0.14 | 0.19 | 8.537% | 9.36% |  | 0.18295 | 9.836% |  | 0.18 | 9.836%
Installation Labor & Equipment | 0.16 | 0.11 | 0.18 | 6.707% | 8.867% |  | 0.16262 | 8.743% |  | 0.16 | 8.743%
Electrical BOS | 0.14 | 0.14 | 0.15 | 31.8% | 31.8% |  | 0.1423 | 7.65% |  | 0.14 | 7.65%
Structural BOS | 0.12 | 0.1 | 0.22 | 6.098% | 10.84% |  | 0.12197 | 6.557% |  | 0.12 | 6.557%
Inverters | 0.08 | 0.08 | 0.08 | 4.878% | 3.941% |  | 0.081311 | 4.372% |  | 0.08 | 4.372%
Module | 0.47 | 0.47 | 0.47 | 28.66% | 23.15% |  | 0.4777 | 25.68% |  | 0.47 | 25.68%
Total | 1.83 | 1.64 | 2.03 |  |  |  | 1.86 |  |  | 1.83
Over 200kW
|  | Rate |  | Percentage |  | User Input | NREL Natl Ave Results % |  | User Inputs | User Results
System Item | Cost | Low | High | Low | High | Enter 'Cost/Watt' | Rate | Percentage | Enter 'Rates' | Rates | Percentage
EPC /Developer Net Profit | 0.11 | 0.11 | 0.11 | 6.433% | 6.322% | 1.73 | 0.11032 | 6.377% | 1.74 | 0.11 | 6.322%
Contingency | 0.04 | 0.04 | 0.04 | 2.339% | 2.299% |  | 0.040116 | 2.319% |  | 0.04 | 2.299%
Developer Overhead | 0.36 | 0.36 | 0.36 | 21.05% | 20.69% |  | 0.36104 | 20.87% |  | 0.36 | 20.69%
Sales Tax | 0.05 | 0.05 | 0.05 | 2.924% | 2.874% |  | 0.050145 | 2.899% |  | 0.05 | 2.874%
Permitting & Interconnection | 0.085 | 0.08 | 0.09 | 4.678% | 5.172% |  | 0.085246 | 4.928% |  | 0.09 | 5.172%
EPC Overhead | 0.16 | 0.16 | 0.16 | 9.357% | 9.195% |  | 0.16046 | 9.275% |  | 0.16 | 9.195%
Installation Labor & Equipment | 0.125 | 0.12 | 0.13 | 7.018% | 7.471% |  | 0.12536 | 7.246% |  | 0.13 | 7.471%
Electrical BOS | 0.125 | 0.12 | 0.13 | 7.018% | 7.471% |  | 0.12536 | 7.246% |  | 0.13 | 7.471%
Structural BOS | 0.12 | 0.12 | 0.12 | 7.018% | 6.897% |  | 0.12035 | 6.957% |  | 0.12 | 6.897%
Inverters | 0.08 | 0.08 | 0.08 | 4.678% | 4.598% |  | 0.080232 | 4.638% |  | 0.08 | 4.598%
Module | 0.47 | 0.47 | 0.47 | 27.49% | 27.01% |  | 0.47136 | 27.25% |  | 0.47 | 27.01%
Total | 1.725 | 1.71 | 1.74 |  |  |  | 1.73 |  |  | 1.74